## Sheet1
编号 | 图片文件名 | 英文名称 | 英文简称 | 中文名称 | 类别 | 品牌型号 | 数量 | 地址 | 管理员 | 手册PDF文件名 | 英文详情 | 中文详情
ID | IMAGE | NAME_EN | ABBR | NAME_ZH | CAT | MODEL | QTY | ADDRESS | PI_EN | MANUAL | DETAIL_EN | DETAIL_ZH
1 | AAS | Atomic Absorption Spectroscopy | AAS | 原子吸收光谱仪 | Major | PerkinElmer-PinAAcle 900T | 1 | ES429B | Xiao Zhou | GOP_for_AAS__flame_mode_ | Mainly used for the analysis of metal elements. It use hollow cathode lamp to emit light with characteristic spectrums of the element being tested. The light will be absorbed by the ground state atom of the element when it go through the sample steam. Element content will be determined by measuring the absorbance of the specific wavelength. | 主要用于金属元素的分析。使用空心阴极灯辐射出具有待测元素特征谱线的光，通过样品蒸汽时被蒸汽中待测元素基态原子所吸收，有辐射特征谱线光被减弱的成度来测定样品中待测元素的含量。
2 | centrifuge_X-15R | Centrifuge |  | 台式冷冻离心机 | regular | backman allegra X-15R | 1 | ES438 | Yili Cheng | GOP_for_Allegra_X-15R
3 | centrifuge_backman_XPI | Centrifuge |  | 高效离心机 | regular | backman avanti j-26s XPI | 1 | ES429B | Xiao Zhou | GOP_for_Avanti_J-26S_XPI
4 | UV-Vis | UV-Visible spectroscopy | UV-Vis | 紫外-可见分光光度计 | Major | Agilent-Cary 60 | 2 | ES440 | Yili Cheng | GOP_for_cary_60 | UV-Visible spectroscopy uses the absorption of visible light and ultraviolet by molecule or ion to analyze compound composition, content and chemical structure of substance. | 利用物质的分子或离子对紫外和可见光的吸收所产生的吸收光谱及其强弱对物质的组成，含量和结构进行分析，测定和判断。
5 | FS | Fluorescence spectroscopy | FS | 荧光分光光度计 | Major | Agilent-Cary Eclipse | 1 | ES440 | Yili Cheng | GOP_for_cary_eclipse | Fluorescence spectroscopy applies to those who can emit fluorescence or could generate fluorescent complex with other reagents. Compared with absorption spectroscopy, fluorescence spectroscopy has higher sensitivity and better selectivity. But its application range is not as wide as absorption spectroscopy. | 用于检测自身可以发射荧光或者可与其它试剂形成荧光络合物的物质。相比吸收光谱的分析，荧光分析灵敏度更高，选择性更好。但应用范围不如吸收光谱法广。
6 | GC-MS | Gas Chromatography-Mass Spectrometer | GC-MS | 气相色谱质谱联用 | Major | Agilent-7890B/5977A | 1 | ES440 | Yili Cheng | GOP_for_GCMS | GC-MS combined the strong separation power of chromatograph and excellent identification ability of mass spectrometry. It is a powerful weapon for the analytic of volatile and semi-volatile compounds. | 结合了色谱强大的分离能力和质谱强大的鉴定能力，是挥发性及半挥发性有机物分析的利器。
7 | ICP-MS | Inductively Coupled Plasma Mass Spectrometry | ICP-MS | 电感耦合等离子体质谱 | Major | PerkinElmer-NexION 350X | 1 | ES436B | Yili Cheng | GOP_for_ICP-MS | Used for trace analysis of most metal elements and part of non-metallic elements. It has low detection limit, high precision, wide dynamic linear range and less interference. Multiple elements could be detected simultaneously. This is the most expensive and frequently used instrument in our department. | 用于绝大多数金属元素和部分非金属元素的痕量分析。检出限低，精密度高，动态线性范围宽，干扰少，且同时可检测多种元素。是我系价格最贵，使用频率最高的分析仪器。
8 | IC | Ion chromatograph | IC | 离子色谱 | Major | Thermo Fisher Scientific- Dionex- ICS 1100 | 1 | ES436B | Yili Cheng | GOP_for_ICS-1100 | Mainly used for the analyzing of polar compound with metal ions, ammonium ion, halogen anion or acid anion. It could also be used in elemental speciation analysis while connected with ICPMS. We only have anion analysis column in our department. | 主要用于极性化合物的分析，包括金属阳离子，铵离子，卤素阴离子以及酸根阴离子等无机化合物。也可与ICPMS联用进行元素形态分析。我系目前仅有阴离子分析柱。
9 | MPR | Microplate reader | MPR | 酶标仪 | Major | Tecan-SPARK | 1 | ES440 | Yili Cheng | GOP_for_microplate_reader | Microplate readers is widely used in biomedical field. Common detection modes for microplate assays are absorbance, fluorescence intensity, time-resolved fluorescence, fluorescence polarization, luminescence and cell counting. | 又称微孔板检测器，广泛应用于生物医药领域。具有多种检测模式，可进行吸光度，荧光强度，时间分辨荧光，荧光偏振，冷光，细胞计数等测定。
10 | binder_oven_53L | oven 53L |  | 烘箱 | regular | BINDER-53L | 4 | ES431,ES212W | Yili Cheng | quick_reference_guide_for_Binder__ovens | Oven.
11 | Binder_Oven_115L | Oven 115L |  | 烘箱 | regular | BINDER-115L | 3 | ESB32,ES431,ES214 | Liangping Long | quick_reference_guide_for_Binder__ovens
12 | oven_ESCO | Oven (isotherm) |  | 烘箱 | regular | ESCO, OFA-110 | 2 | ES438 | Yili Cheng | quick_reference_guide_for_Esco_forced_convection_laboratory_oven
13 | shaker_SHKE8000 | freezer shaker |  | 恒温冷冻摇床 | regular | thermo, SHKE8000-8CE | 1 | ES431A | Yili Cheng | quick_reference_guide_for_SHKE8000-8CE
14 | microwave_digestor | microwave digestor |  | 微波消解仪 | regular | CEM-MARS6 | 1 | ES438 | Yili Cheng | quick_reference_guide_for_the_microwave_digesting_systerm
15 | autoclave_ALP | autoclave |  | 立式灭菌器 | regular | Alp cl-32l | 1 | ES431A | Yili Cheng | SOP_for_ALP_Autoclave
16 | cleanbench | clean bench |  | 垂直流超净工作台 | regular | ACB-4A1 | 1 | ES431A | Yili Cheng | SOP_for_clean_bench
17 | COD | COD analyzer |  | COD测定仪 | regular | DR1010 | 1 | ES436 | Yili Cheng | SOP_for_DR1010_COD_and_DRB_200
18 | EA | Elemental analyzer | EA | 元素分析仪 | Major | Thermo Fisher Scientific-FLASH 2000 CHNS | 1 | ES436 | Yili Cheng | SOP_for_EA | It is used for the precise determination of C, H, N and S. Samples will be fully combusted at high temperature and both organic and inorganic substances are converted into elemental gases which, after further reduction, are separated in a chromatographic column and finally detected by a highly sensitive thermal conductivity detector (TCD). | 用于样品中碳，氢，氮，硫含量的测定。样品在高温完全燃烧，经进一步还原，通过色谱柱分离后由热导检测器检测。
19 | glovebox | glovebox |  | 手套箱 | regular | vigor-IG1200/750TS | 1 | ES431A | Yili Cheng | SOP_for_Glove_box
20 | TOCTN | TOC/TN analyzer | TOCTN | TOC/TN检测器元素分析仪 | Major | analytikjena-Multi N/C 3100 | 1 | ES436 | Yili Cheng | SOP_for_multi_N_C3100 | It is used for the determination of bound carbon contents (TIC/TOC, TC, NPOC, POC) and of total nitrogen (TNb) in aqueous and solid samples. Samples will be fully oxidized by high temperature catalytic combustion and oxidation and detected by NDIR Detector. | 适用于液体和固体样品中结合碳含量（TIC/TOC, TC, NPOC, POC）和总氮的测定。样品通过高温催化燃烧氧化并使用非色散红外吸收法进行检测。
21 | FIAS | Flow injection analysis system | FIAS | 流动分析仪 | Major | HACH-Quikchem 8500 Series 2 | 1 | ES436 | Yili Cheng | SOP_for_QuickChem_8500__NO3-_NO2-_，SOP_for_QuickChem_8500__PO4-_ | Essentially it is a spectrophotometer. It is modular designed and use computer to control the whole process from sample digestion, reaction to signal detection. It works well where the amount of testing needed is very high. We have modules for total phosphorous, total nitrogen, orthophosphate, ammonia, nitrate and nitrite. | 其实质是分光光度计。采用模块化设计，由计算机控制实现样品的全过程分析，包括样品消解，化学反应，信号检测等。适合大批量样品的检测，我系拥有的模块可进行总磷，总氮，正磷，氨氮，硝氮及亚硝氮的分析。
22 | autoclave-SN310C | autoclave |  | 高压蒸汽灭菌釜 | regular | yamato SN310C | 1 | ES431A | Yili Cheng | SOP_for_yamato_Autoclave
23 | USB-6210 | USB multifunctional collection device |  | USB 多功能采集仪 | regular | USB6210 | 1 | EB roof | Bailiang Li
24 | PM2.5_analyzer | PM2.5 Analyzer |  | 空气中PM2.5分析仪 | Major | MET ONE-BAM1020 | 1 | EB roof | Xiao Zhou
25 | MiniGreenhouse | MiniGreenhouse |  | 小型温室 | regular | DS-LHS-100SC | 1 | ES 4th floor balcony | Liangping Long
26 | microscope_EZ4_HD | stereomicroscope |  | 体式显微镜 | regular | LEICA EZ4 HD | 2 | ES212A | Liangping Long
27 | microscope_ZOOM645 | Stereoscopic microscope |  | 立体显微镜 | regular | ZOOM-645 | 4 | ES212A | Liangping Long
28 | microscope_ZOOM646 | stereoscopic microscope |  | 立体显微镜 | regular | ZOOM-646 | 4 | ES212A | Liangping Long
29 | nikon_biological_microscope | nikon biological microscope |  | 正置研究级生物显微镜 | regular | Nikon, Ci-L | 1 | ES212A | Liangping Long
30 | U3_controller | U3 controller |  | U3控制器 | regular | Nikon-U3 | 1 | ES212A | Liangping Long
31 | Aquafluor_Handheld_Fluoromete | Aquafluor Handheld Fluoromete |  | 手持叶绿素荧光仪 | regular | Turner Designs-Aquafluor | 1 | ES212B | Liangping Long
32 | balance_ME403 | analytical balance |  | 分析天平 | regular | mettler toledo ME403, max= 420g, d=0.001g | 1 | ES212B | Liangping Long
33 | rocker_400 | Dry pump |  | 无油真空泵 | regular | rocker 400 | 1 | ES212B,ES438 | Sujie Qin
34 | YSI | YSI multi parameter water quality analyzer |  | YSI 多参数测试仪（套） | regular | YSI-Proplus | 2 | ES212E | Liangping Long
35 | Fridge-Haier-HYC360 | freezer |  | 冰箱 | regular | Haier-HYC-360 (4oC) | 2 | ES212E,ES438 | Liangping Long
36 | MF_PRO_hand-held_terminal | MF PRO hand-held terminal |  | MF PRO 手持终端 | regular | MF PRO | 1 | ES212M | Eduardo Roldan
37 | Centrifuge-xiangyi-L530 | Centrifuge |  | 离心机 | regular | Xiangyi-L530 | 1 | ES212M | Liangping Long
38 | incubator_thermo | Incubator (17-40°C) |  | 培养箱 | regular | thermo fisher- IMC18 | 1 | ES212M | Liangping Long
39 | Laboratory_fluorometer | Laboratory fluorometer |  | 荧光测定仪 | regular | trilogy 7200-000 | 1 | ES212M | Liangping Long
40 | mass_flow_controller__CS200 | mass flow controller |  | 质量流量控制器CS200 | regular | sevenstar CS200 | 2 | ES212W | Liangping Long
41 | rocker_300 | Dry pump |  | 无油式真空泵 | regular | rocker300DC | 2 | ES212W | Liangping Long
42 | Soil_moisture_detection_probe | Soil moisture detection probe |  | 土壤水分检测探头CS658 | regular | CS658 | 1 | ES212W | Liangping Long
43 | fridge-thermo-PLR1006 | freezer |  | 冰箱 | regular | Thermo Fisher-PLR-1006 (4oC) | 2 | ES214 | Liangping Long
44 | plant_growth_incubator | plant growth incubator |  | 植物培养箱 | regular | conviron-adaptis-A1000 | 1 | ES214 | Liangping Long
45 | furance-_FH12 | furance |  | 马弗炉 | regular | DaiHan-FH-12 | 1 | ES214A | Liangping Long
46 | oven_thermo_OMH180 | Oven (50-330°C) |  | 烘箱 | regular | Thermo Fisher-OMH180 | 1 | ES214A | Liangping Long
47 | shaker_IKA_KS501_digital | Shaker (orbital) |  | 圆周式震荡摇床 | regular | IKA- Werke ks501 digital | 1 | ES214C | Liangping Long
48 | camera-G15 | Camera |  | 照相机 | regular | Canon-G15 | 1 | ES325 | Eduardo Roldan
49 | UAV_PRO | Unmanned aerial vehicle |  | 大疆无人机 | regular | 御PRO | 1 | ES347 | Yi Zou
50 | camero_hero3+ | GoPro Camera |  | GoPro相机 | regular | GoPro Camera Hero 3+ Black | 1 | ES349 | Bailiang Li
51 | camero_hero4 | Gopro Camera |  | GoPro 相机 | regular | GoPro Camera Hero 4 Sliver | 1 | ES349 | Bailiang Li
52 | microscope_E100 | microscope |  | 显微镜 | regular | nikon eclipse e100 | 11 | ES427 | Liangping Long
53 | furance_thermo_F30420C | furance |  | 马弗炉 | regular | Fisher Scientific-F30420C-33-80 | 1 | ES427 | Xiao Zhou
54 | furance_thermo_FB1410M | furance |  | 马弗炉 | regular | Fisher Scientific-FB1410M-33CN | 1 | ES427 | Xiao Zhou
55 | Portable_turbidimeter | Portable turbidimeter |  | 便携式浊度仪 | regular | HACH-2100Q | 2 | ES429 | Liangping Long
56 | heating_plate_2200 | Heating plate |  | 加热板2200 | regular | Fisher-2200 | 1 | ES429 | Xiao Zhou
57 | Labconco-FlaskScrubber | bottle washer |  | 洗瓶机 | regular | Labconco-FlaskScrubber | 1 | ES429 | Xiao Zhou
58 | Labconco-SteamScrubber | bottle washer |  | 洗瓶机 | regular | Labconco-SteamScrubber | 1 | ES429 | Xiao Zhou
59 | magnetic_stirrer | magnetic stirrer |  | 加热磁力搅拌器 | regular | isotemp | 6 | ES429 | Xiao Zhou
60 | UV-Vis_L6S | Ultraviolet spectrophotometer |  | 紫外分光光度计L6S | regular | L6S | 4 | ES429 | Xiao Zhou
61 | water_bath_SYC | Super constant temperature water tank |  | 超级恒温水槽SYC | regular | SYC | 3 | ES429 | Xiao Zhou
62 | Anemometer_6030 | Anemometer |  | 风速仪 | regular | Kanomax-6036-OC | 2 | ES429A | Bailiang Li
63 | 12_channel_manual_transferpettor | 12 channel manual transferpettor |  | 12通道手动移液器3122000060 | regular | Eppendorf 3122000060 | 1 | ES429A | Xiao Zhou
64 | 5-50ML_Liquid_bottle_points | 5-50ML Liquid bottle points |  | 5-50ML瓶口分液器4700361 | regular | 4700361 | 3 | ES429A | Xiao Zhou
65 | 8_channel_manual_transferpettor | 8 channel manual transferpettor |  | 8通道手动移液器3122000035 | regular | Eppendorf 3122000035 | 1 | ES429A | Xiao Zhou
66 | Benchtop_turbidimeter | Benchtop turbidimeter |  | 台式浊度仪 | regular | HACH-2100AN | 1 | ES429A | Xiao Zhou
67 | Canon_5D_mark_IV | Canon Camera |  | 佳能相机 | regular | 5D mark IV | 1 | ES429A | Xiao Zhou
68 | dispensette | 1-10ML Liquid bottle points |  | 1-10ML瓶口分液器4700341 | regular | 4700341 | 3 | ES429A | Xiao Zhou
69 | Electric_liquid_moving_trace | Electric liquid moving trace |  | 电动微量移液器 | regular | Eppendorf 4861000040 | 2 | ES429A | Xiao Zhou
70 | Electric_pipet_haustoria | Electric pipet haustoria |  | 电动移液管助吸器 | regular | Eppendorf 4861000066 | 2 | ES429A | Xiao Zhou
71 | label_maker | label maker |  | 贝迪标签机 | regular | Brady BMP71 | 1 | ES429A | Xiao Zhou
72 | TSI | Dust meter |  | TSI粉尘仪 | regular | TSI8530 | 4 | ES429A | Xiao Zhou
73 | ultrasonic_CPX2800H-C | Ultrasonic cleaning machine |  | 超声波清洗机 CPX2800H-C | regular | CPX2800H-C | 1 | ES429A | Xiao Zhou
74 | Hot_wire_anemometer | Hot wire anemometer |  | 热线风速仪/温度计 | regular |  | 2 | ES429A | Xiao Zhou
75 | Anemometer_thermo | Anemometer |  | 风速/温度/湿度/结露点指示计/气压计 FIS15-078-196 | regular | Thermo FIS15-078-196 | 5 | ES429A | Xiao Zhou
76 | PA_bettersize_2000 | Particle analyzer | PA | 粒度分析仪 | Major | Bettersize-Bettersize200 | 1 | ES429B | Bailiang Li
77 | PA_BT-2900 | Particle analyzer | PA | 颗粒分析仪 | Major | Bettersize-BT2900 | 1 | ES429B | Bailiang Li
78 | SECM | Scanning Electrochemical Microscope system | SECM | 电化学综合测试仪 | Major | AMT, Versastat | 1 | ES429B | Xiao Zhou
79 | multichannel_constant_potential_meter | multichannel constant potential meter |  | 多通道恒电位移 | regular | shanghaichenhua, CHI1040 | 1 | ES429B | Xiao Zhou
80 | rotary_evaporater_RE2000A | rotary evaporation apparatus suit |  | 旋转蒸发仪套装RE-2000A | regular | RE-2000A | 1 | ES429B | Xiao Zhou
81 | oxyhydrogen_machine | Water fuel oxyhydrogen machine |  | 水燃料氢氧机 | regular | OH100 | 1 | ES429B | Zheng Chen
82 | LA-PH10 | PH meter |  | PH计 | regular | LA-PH10 | 3 | ES431 | Xiao Zhou
83 | fridge-thermo-PLF276 | freezer |  | 冰箱 | regular | Thermo Fisher-PLF-276 | 1 | ES431 | Yili Cheng
84 | fridge-thermo-PLR386 | freezer |  | 冰箱 | regular | Thermo Fisher-PLR-386 (4oC) | 1 | ES431 | Yili Cheng
85 | glue_cutter | Blue light glue cutter |  | 蓝光切胶仪 | regular | 杭州米欧-DUT-48 | 1 | ES431 | Yili Cheng
86 | shaker_IKA260 | Shaker (reciprocating) |  | 往复式摇床 | regular | IKA HS260 | 1 | ES431 | Yili Cheng
87 | Microtome_GSL1 | Microtome GSL1 |  | 植物切割机 | regular | GSL1 | 1 | ES431 | Yili Cheng
88 | Switching_valve | Switching valve |  | 切换阀 | regular | SV06-16 | 2 | ES431 | Zheng Chen
89 | electric_displacement_platform | electric displacement platform |  | 电动平移台 | regular | NT302TA300 | 1 | ES431 | Zheng Chen
90 | Dry_bath_incubator | Dry bath incubator |  | 金属浴 | regular | 加热和制冷型 | 1 | ES431 | Zheng Chen
91 | Vertical_syringe_pump | Vertical syringe pump |  | 立式注射泵 | regular | ZSE-LS-0.9-1-20-1-Q | 2 | ES431 | Zheng Chen
92 | pH_meter_6230N | pH meter |  | pH计 | regular | JENCO 6230N | 1 | ES431 | Zheng Chen
93 | syringe | syringe |  | 注射泵 | regular | lead fluid-TYD01 | 1 | ES431
94 | Fridge-Haier-dw25 | freezer |  | 冰箱 | regular | Haier-DW-25L262 (-25oC） | 2 | ES431,ES212E | Yili Cheng
95 | incubator_yiheng | incubator |  | 电热恒温培养箱 | regular | 上海一恒 DHP-9902 | 1 | ES431A | Yili Cheng
96 | freezer_shaker | freezer shaker |  | 小型叠式冷冻摇床 | regular | HZ-2210K-2 | 2 | ES431A | Yili Cheng
97 | FastPrep | fast-prep instrument |  | 样品快速制备仪 | regular | MP biomedicals, fast-prep-24 5G | 1 | ES431B | Yili Cheng
98 | electrophoresis | Electrophoresis |  | 电泳仪 | regular | EPS-300 | 1 | ES431B | Yili Cheng
99 | LED_photolysis_device | LED photolysis device |  | 光解仪 | regular | PMA-Lite-E90002 | 1 | ES431B | Yili Cheng
100 | PCR | gradient PCR |  | 梯度PCR仪 | regular | T20 | 1 | ES431B | Yili Cheng
101 | ultralow_fridge | ultralow temperature freezer |  | 超低温冰箱 | regular | Haier, DW-86I388J | 1 | ES431B | Yili Cheng
102 | sigma_centrifuge | Centrifuge |  | 离心机 | regular | sigma 1-14 | 2 | ES431B | Zheng Chen
103 | vertex_mixer | vortex mixer |  | 混匀器 | regular | IKA VORTEX2 | 1 | ES431B | Zheng Chen
104 | vortex_mixer | vortex mixer |  | 混匀器 | regular | Vortex-genie2 | 1 | ES431B | Zheng Chen
105 | DJM_200 | Unmaned aerial vehicle with multi-sensor camera |  | 无人机和多光谱相机 | regular | DJM 200 | 1 | ES432 | Liangping Long
106 | GPS_Geo7X | GPS |  | 全球定位系统 | regular | Trimble-Geo7X | 1 | ES432 | Liangping Long
107 | GPS_GeoXH6000 | GPS |  | 全球定位系统 | regular | Trimble-GeoXH6000 | 1 | ES432 | Liangping Long
108 | GPS_juno3B | GPS |  | 全球定位系统 | regular | Trimble-JUNO 3B | 6 | ES432 | Liangping Long
109 | Laser_Photoelectric_sensor | Laser Photoelectric sensor |  | 数字激光放大器 | regular | JIENSHI-LV | 8 | ES432 | Liangping Long
110 | BOD | BOD analyzer |  | BOD 测定仪 | regular | HACH-TrakII | 2 | ES436 | Yili Cheng
111 | sonicator_E120H | sonicator |  | 超声波清洗机 | regular | Elma E120H | 1 | ES436 | Yili Cheng
112 | Solid-Phase_Extraction_station | Solid-Phase Extraction station |  | 固相萃取装置 | regular | WAT200609 | 1 | ES438 | Xiao Zhou
113 | dispensette_TA | bottle dispenser |  | 瓶口分液器Dispensette TA | regular | dispensette TA | 4 | ES438 | Yili Cheng
114 | rotary_evaporater | rotary evaporater |  | 旋转蒸发仪 | regular | heidolph-Hei-VAP value digital G3 | 1 | ES438 | Yili Cheng
115 | shaker_HZQ-120H | shaker |  | 回旋振荡器 | regular | Yiheng ,HZQ-120H | 1 | ES438 | Yili Cheng
116 | sonicator_KQ5200DE | sonicator |  | 超声波清洗机 | regular | KQ5200DE | 1 | ES438 | Yili Cheng
117 | ultrasonic_processor | ultrasonic processor |  | 超声波破碎仪 | regular | Cole-Parmer-500w | 1 | ES438 | Yili Cheng
118 | water_bath_salvis | circulating water bath |  | 循环水浴锅 | regular | salvis-WB20 | 1 | ES438 | Yili Cheng
119 | water_bath_SW22 | Shaking water bath |  | 震荡水浴槽 | regular | SW22 | 1 | ES438 | Yili Cheng
120 | water_purification_system | water purification system |  | 明澈24UV纯水/超纯水一体化系统 | regular | mingche 24UV | 1 | ES438 | Yili Cheng
121 | Fridge-Haier-HYC260 | freezer |  | 冰箱 | regular | Haier-HYC-260 (4oC） | 1 | ES438 | Yili Cheng
122 | atmosphere_funance | atmosphere funance |  | 气氛炉 | regular |  | 1 | ES438 | Zheng Chen
123 | vacuum_oven | vacuum oven |  | 真空干燥箱 | regular | yiheng | 1 | ES438
124 | Nitrogen_evaporator | Nitrogen evaporator |  | 氮吹仪 | regular | Organomation-N-EVAP-12 | 1 | ES438 | Sujie Qin
125 | balance_ME1002 | analytical balance |  | 分析天平 | regular | mettler toledo ME1002, max= 1200g, d=0.01g | 1 | ES438A | Yili Cheng
126 | balance_ME104 | analytical balance |  | 分析天平 | regular | mettler toledo ME104, max= 120g, d=0.0001g | 1 | ES438A | Yili Cheng
127 | microbalance | microbalance |  | 微量天平 | regular | mettler toledo XP6, max= 6.1g, d=1μg | 1 | ES438A | Yili Cheng
128 | GC | Gas Chromatograph | GC | 气相色谱 | Major | Agilent-7890B | 1 | ES440 | Yili Cheng |  | Mainly used for the analyzing of volatile and semi-volatile organic compounds such as benzene and toluene in newly decorated house. | 主要用于分析挥发性和半挥发性有机化合物，如新装修房子内残留的苯，甲苯等。
129 | LC | Liquid chromatograph | LC | 液相色谱 | Major | Agilent-1260 | 1 | ES440 | Yili Cheng |  | Compared with GC, HPLC is mainly used for the analyzing of nonvolatile components or those with poor thermal stability or higher molecular weight such as melamine, polysaccharide or protein. | 相较气相而言，液相主要用于分析不易挥发的，热稳定性较差以及分子量较大的化合物。如三聚氰胺，多糖，蛋白质等。
130 | Hydrogen_generator | Hydrogen generator |  | 氢气发生器 | regular | Domnick hunter， 40H-MD | 1 | ES440 | Yili Cheng
131 | SPE_Workstation | SPE Workstation |  | 固相 萃取自动工作站 | Major | Biotage | 2 | ES440 | Yili Cheng
132 | camera_slippery_course | Electric control camera slippery course |  | 可遥控电轨道 | regular | 雷影 | 1 | ESB18 | Eduardo Roldan
133 | Soil_sampler_ETC-300A | Soil sampler ETC-300A |  | 土壤采样器 Auger set ETC300A | regular | ETC-300A | 1 | ESB18 | Eduardo Roldan
134 | wind_meter | Wind Meter |  | 三维超声波风速风向仪 | Major | Gill-R3A-100 | 1 | ESB18 | Liangping Long
135 | inflatable_boat | inflatable boat |  | 橡皮艇 | regular | 2.85M | 1 | ESB18 | Liangping Long
136 | freezer_dryer_8L_ZL-105 | manifold freezer dryer 8L |  | 台式冻干机 | regular | virtis-benchtop pro 8L ZL-105 | 1 | ESB28 | Liangping Long
137 | freezer_dryer_9EL_00X | manifold freezer dryer 9L |  | 台式冻干机 | regular | virtis-benchtop pro 9EL 00X | 1 | ESB28 | Liangping Long
138 | Ortec_Gamma_Spectrometer | Ortec Gamma Spectrometer |  | 伽玛谱仪 | Major | Ortec-GWL-120-15-LB-AWT-HJ | 1 | ESB28 | Liangping Long
139 | ball_grinder_0.4L | ball grinder |  | 卧式球磨机 | regular | DECO-PBH-H-0.4L | 1 | ESB32 | Liangping Long
140 | ball_grinder_4L | ball grinder |  | 立行式星式球磨机 | regular | DECO-PBM-V-4L | 1 | ESB32 | Liangping Long
141 | Centrifuge-xiangyi-GL21M | Centrifuge |  | 高速冷冻离心机 | regular | xiangyi, GL-21M | 1 | ESB32 | Liangping Long
142 | Flow_meter | Flow meter |  | 流量计 | regular | ISCO-2150 | 2 | ESB32 | Liangping Long
143 | freezer_FYL | freezer |  | 车载冰箱 | regular | FYL-YS-178L | 1 | ESB32 | Liangping Long
144 | lab_seive | lab seive |  | 筛分仪 | regular | Endecotts-MIN/23050 | 2 | ESB32 | Liangping Long
145 | Longerpump-BT100_(DG-12) | Peristaltic pump |  | 蠕动泵 | regular | Longerpump-BT100 (DG-12) | 2 | ESB32 | Liangping Long
146 | Longerpump-BT100_(DG-8) | Peristaltic pump |  | 蠕动泵 | regular | Longerpump-BT100 (DG-8) | 2 | ESB32 | Liangping Long
147 | Longerpump-WT600-3JK | Peristaltic pump |  | 蠕动泵 | regular | Longerpump-WT600-3J/K | 2 | ESB32 | Liangping Long
148 | Longerpump-YT600-1J | Peristaltic pump |  | 蠕动泵 | regular | Longerpump-YT600-1J/K | 2 | ESB32 | Liangping Long
149 | Photometer_LI-1500 | Photometer LI-1500 |  | 光度计LI-1500 | regular | LI-1500 | 1 | ESB32 | Liangping Long
150 | Portable_Photosynthesis_System | Portable Photosynthesis System |  | 便携式光合作用仪 | regular | LI-COR-LI-6400XT | 1 | ESB32 | Liangping Long
151 | Portable_soil_moisture_meter | Portable soil moisture meter |  | 便携式土壤水分测定仪HS-2 | regular | HS2 | 1 | ESB32 | Liangping Long
152 | Portable_water_sampler | Portable water sampler |  | 便携式采样器 | regular | ISCO-6712 | 4 | ESB32 | Liangping Long
153 | Sediment_sampler_WKL329 | Sediment/soil sampler |  | 污泥采样器 | regular | Hebi-WKL329 | 1 | ESB32 | Liangping Long
154 | Soil_sampler_0416 | Soil sampler set |  | 土壤采样器套装 | regular | Eijkelamp-0416 | 1 | ESB32 | Liangping Long
155 | Ultrasonic_anemometer | Ultrasonic anemometer |  | 测风仪 | regular | 81000RE | 3 | ESB32 | Liangping Long
156 | vibrating_screen | vibrating screen |  | 振动筛 | regular | HY-200, hengyu | 2 | ESB32 | Liangping Long
157 | Sludge_sampler | Sludge sampler |  | 污泥（底泥）采样器 | regular | Hebi-WKL205 | 1 | ESB32 | Liangping Long
158 | Sediment_soil_sampler_WKL204 | Sediment/soil sampler |  | 土壤采样器 | regular | Hebi-WKL204 | 1 | ESB32 | Liangping Long
159 | Sediment_sampler_WKL203 | Sediment sampler |  | 底泥采样器 | regular | Hebi-WKL203 | 1 | ESB32 | Liangping Long
160 | Sediment_soil_sampler_WKL331 | Sediment sampler |  | 底泥采样器 | regular | APEX-WKL-331 | 1 | ESB32 | Liangping Long
161 | Sediment_soil_sampler_WKL330 | Sediment/soil sampler |  | 污泥采样器 | regular | APEX-WKL-330 | 1 | ESB32 | Liangping Long
162 | Sediment_soil_sampler_xindibiao | Sediment/soil sampler |  | 定深采泥器 | regular | xindibiao-XDB0203F | 1 | ESB32 | Liangping Long
163 | Soil_moisture,_salinity_detector | Soil moisture, salinity detector |  | 土壤水分，盐度检测器 | regular | campbell scientific | 1 | ESB32 | Liangping Long
164 | handheld_XRF | Handheld Energy Dispersive X-Ray Fluorescence |  | 手持式XRF | regular | X-MET7000 | 1 | SA7 | Xiao Zhou